## Instructions (hidden)
How this workbook works
1. Log sheet
Each day, add one new row per camera to the table (just type into the row directly below the last one - the table expands automatically).
Columns: Date, Camera, Wand Count, World Error, Image Error.
The Camera column has a dropdown so names stay consistent.
2. Daily Summary sheet
Automatically averages World Error and Image Error across all cameras for each date, and counts how many cameras were logged that day (flags red if it isn't 17, so you notice a missed camera). Pre-built with formulas for the next ~150 days - nothing to edit.
Chart: average error trend over time, across the whole rig.
3. Camera Trend sheet
Pick a camera from the dropdown in the highlighted cell and its own error history over time appears in the table and chart below. Useful for spotting a camera that's drifting or degrading.
4. Lists sheet
Just holds the camera name list that powers the dropdowns. Hidden by default - unhide it (right-click any sheet tab) if you add or retire a camera.
Cells you edit day-to-day are highlighted in pale yellow. Everything else is a formula and updates itself.

## Lists (hidden)
Camera
#1 (Vero v2.2)
#2 (Vero v2.2)
#3 (Vero v2.2)
#4 (Vero v2.2)
#5 (Vero v2.2)
#6 (Vero v2.2)
#7 (Vero v2.2)
#8 (Vero v2.2)
#9 (Vero v2.2)
#10 (Vero v2.2)
#11 (Vero v2.2)
#12 (Vero v2.2)
#13 (Vero v2.2)
#14 (Vero v2.2)
#15 (Vero v2.2)
#16 (Vero v2.2)
#17 (Vero v2.2)
#18 (Vero v2.2)

## Camera Labelling
Cameras in the INB Robotics/Vicon lab are labelled differently to the Nexus software, I've recorded the differences here
For future reference, if this is ever corrected - the files here will need to be corrected
Camera Name | Nexus Software ID | Physical Label | Match
#1 (Vero v2.2) | 1 | 1 | Yes
#2 (Vero v2.2) | 2 | 2 | Yes
#3 (Vero v2.2) | 3 | 4 | No
#4 (Vero v2.2) | 4 | 18 | No
#5 (Vero v2.2) | 5 | 5 | Yes
#6 (Vero v2.2) | 6 | 6 | Yes
#7 (Vero v2.2) | 7 | 7 | Yes
#8 (Vero v2.2) | 8 | 8 | Yes
#9 (Vero v2.2) | 9 | 14 | No
#10 (Vero v2.2) | 10 | 10 | Yes
#11 (Vero v2.2) | 11 | 11 | Yes
#12 (Vero v2.2) | 12 | 12 | Yes
#13 (Vero v2.2) | 13 | 13 | Yes
#14 (Vero v2.2) | 14 | 14 | Yes
#15 (Vero v2.2) | 15 | 15 | Yes
#16 (Vero v2.2) | 16 | 16 | Yes
#17 (Vero v2.2) | 17 | 3 | No
#18 (Vero v2.2) | 18 | 17 | No

## Log
Add new rows below the table - one per camera, each day. |  |  | Camera Error (This Day) |  | Average Errors (This Day) |  | Beats average?
Date | Camera | Wand Count | World Error | Image Error | World Error (Avg.) | Image Error (Avg.) | World | Image
2026-07-25 | #1 (Vero v2.2) | 2306 | 0.27498 | 0.079357 | 0.39118 | 0.092278 | Yes | Yes
2026-07-25 | #2 (Vero v2.2) | 2392 | 0.42184 | 0.11231 | 0.39118 | 0.092278 | No | No
2026-07-25 | #3 (Vero v2.2) | 1810 | 0.39858 | 0.092427 | 0.39118 | 0.092278 | No | No
2026-07-25 | #4 (Vero v2.2) | 2277 | 0.62004 | 0.12158 | 0.39118 | 0.092278 | No | No
2026-07-25 | #5 (Vero v2.2) | 2240 | 0.19189 | 0.044367 | 0.39118 | 0.092278 | Yes | Yes
2026-07-25 | #6 (Vero v2.2) | 2754 | 0.44223 | 0.089975 | 0.39118 | 0.092278 | No | Yes
2026-07-25 | #7 (Vero v2.2) | 3007 | 0.5099 | 0.1028 | 0.39118 | 0.092278 | No | No
2026-07-25 | #9 (Vero v2.2) | 2832 | 0.39593 | 0.07958 | 0.39118 | 0.092278 | No | Yes
2026-07-25 | #10 (Vero v2.2) | 2120 | 0.49961 | 0.13204 | 0.39118 | 0.092278 | No | No
2026-07-25 | #11 (Vero v2.2) | 1471 | 0.13059 | 0.045056 | 0.39118 | 0.092278 | Yes | Yes
2026-07-25 | #12 (Vero v2.2) | 1657 | 0.42837 | 0.14066 | 0.39118 | 0.092278 | No | No
2026-07-25 | #13 (Vero v2.2) | 1007 | 0.16839 | 0.042416 | 0.39118 | 0.092278 | Yes | Yes
2026-07-25 | #14 (Vero v2.2) | 2022 | 0.16074 | 0.04905 | 0.39118 | 0.092278 | Yes | Yes
2026-07-25 | #15 (Vero v2.2) | 1985 | 0.43961 | 0.10268 | 0.39118 | 0.092278 | No | No
2026-07-25 | #16 (Vero v2.2) | 1540 | 0.64796 | 0.14732 | 0.39118 | 0.092278 | No | No
2026-07-25 | #17 (Vero v2.2) | 1892 | 0.37152 | 0.077194 | 0.39118 | 0.092278 | Yes | Yes
2026-07-25 | #18 (Vero v2.2) | 1460 | 0.54793 | 0.10993 | 0.39118 | 0.092278 | No | No
2026-07-27 | #1 (Vero v2.2) | 1939 | 0.38632 | 0.10861 | 0.38042 | 0.091967 | No | No
2026-07-27 | #2 (Vero v2.2) | 2172 | 0.40509 | 0.10678 | 0.38042 | 0.091967 | No | No
2026-07-27 | #3 (Vero v2.2) | 1359 | 0.42063 | 0.098741 | 0.38042 | 0.091967 | No | No
2026-07-27 | #4 (Vero v2.2) | 1819 | 0.61034 | 0.12091 | 0.38042 | 0.091967 | No | No
2026-07-27 | #5 (Vero v2.2) | 1541 | 0.28196 | 0.067092 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #6 (Vero v2.2) | 1296 | 0.35003 | 0.073608 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #7 (Vero v2.2) | 1470 | 0.3666 | 0.076716 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #8 (Vero v2.2) | 1162 | 0.1621 | 0.049119 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #9 (Vero v2.2) | 2611 | 0.42068 | 0.08186 | 0.38042 | 0.091967 | No | Yes
2026-07-27 | #10 (Vero v2.2) | 1449 | 0.45558 | 0.1238 | 0.38042 | 0.091967 | No | No
2026-07-27 | #11 (Vero v2.2) | 1005 | 0.43718 | 0.14344 | 0.38042 | 0.091967 | No | No
2026-07-27 | #12 (Vero v2.2) | 2076 | 0.3021 | 0.093081 | 0.38042 | 0.091967 | Yes | No
2026-07-27 | #13 (Vero v2.2) | 1159 | 0.18565 | 0.044685 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #14 (Vero v2.2) | 1409 | 0.21656 | 0.069652 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #15 (Vero v2.2) | 1914 | 0.46116 | 0.10477 | 0.38042 | 0.091967 | No | No
2026-07-27 | #16 (Vero v2.2) | 1154 | 0.49668 | 0.11163 | 0.38042 | 0.091967 | No | No
2026-07-27 | #17 (Vero v2.2) | 1614 | 0.32053 | 0.066401 | 0.38042 | 0.091967 | Yes | Yes
2026-07-27 | #18 (Vero v2.2) | 1342 | 0.5683 | 0.11451 | 0.38042 | 0.091967 | No | No
2026-07-28 | #1 (Vero v2.2) | 2192 | 0.32685 | 0.091958 | 0.35088 | 0.08473 | Yes | No
2026-07-28 | #2 (Vero v2.2) | 2430 | 0.55681 | 0.14671 | 0.35088 | 0.08473 | No | No
2026-07-28 | #3 (Vero v2.2) | 1832 | 0.34914 | 0.081952 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #4 (Vero v2.2) | 2081 | 0.55387 | 0.10969 | 0.35088 | 0.08473 | No | No
2026-07-28 | #5 (Vero v2.2) | 2109 | 0.3266 | 0.07777 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #6 (Vero v2.2) | 2103 | 0.39978 | 0.084118 | 0.35088 | 0.08473 | No | Yes
2026-07-28 | #7 (Vero v2.2) | 2171 | 0.42613 | 0.089207 | 0.35088 | 0.08473 | No | No
2026-07-28 | #8 (Vero v2.2) | 1004 | 0.15785 | 0.04786 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #9 (Vero v2.2) | 2717 | 0.35115 | 0.068267 | 0.35088 | 0.08473 | No | Yes
2026-07-28 | #10 (Vero v2.2) | 1748 | 0.50825 | 0.13811 | 0.35088 | 0.08473 | No | No
2026-07-28 | #11 (Vero v2.2) | 1329 | 0.36122 | 0.11864 | 0.35088 | 0.08473 | No | No
2026-07-28 | #12 (Vero v2.2) | 1653 | 0.19215 | 0.059232 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #13 (Vero v2.2) | 1260 | 0.22016 | 0.052974 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #14 (Vero v2.2) | 1442 | 0.19146 | 0.061579 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #15 (Vero v2.2) | 1990 | 0.29572 | 0.067059 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #16 (Vero v2.2) | 1384 | 0.2907 | 0.065278 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #17 (Vero v2.2) | 2118 | 0.33533 | 0.069472 | 0.35088 | 0.08473 | Yes | Yes
2026-07-28 | #18 (Vero v2.2) | 1432 | 0.47264 | 0.095271 | 0.35088 | 0.08473 | No | No
2026-07-29 | #1 (Vero v2.2) | 2734 | 0.28614 | 0.080479 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #2 (Vero v2.2) | 2228 | 0.3969 | 0.10463 | 0.36981 | 0.088882 | No | No
2026-07-29 | #3 (Vero v2.2) | 1998 | 0.45232 | 0.10619 | 0.36981 | 0.088882 | No | No
2026-07-29 | #4 (Vero v2.2) | 2381 | 0.56917 | 0.11265 | 0.36981 | 0.088882 | No | No
2026-07-29 | #5 (Vero v2.2) | 1925 | 0.27125 | 0.064562 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #6 (Vero v2.2) | 1532 | 0.38307 | 0.080608 | 0.36981 | 0.088882 | No | Yes
2026-07-29 | #7 (Vero v2.2) | 1844 | 0.3971 | 0.083112 | 0.36981 | 0.088882 | No | Yes
2026-07-29 | #8 (Vero v2.2) | 1024 | 0.22836 | 0.069232 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #9 (Vero v2.2) | 3094 | 0.43911 | 0.085489 | 0.36981 | 0.088882 | No | Yes
2026-07-29 | #10 (Vero v2.2) | 2382 | 0.50203 | 0.13646 | 0.36981 | 0.088882 | No | No
2026-07-29 | #11 (Vero v2.2) | 1548 | 0.40054 | 0.13156 | 0.36981 | 0.088882 | No | No
2026-07-29 | #12 (Vero v2.2) | 2980 | 0.20336 | 0.062631 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #13 (Vero v2.2) | 1004 | 0.25667 | 0.061803 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #14 (Vero v2.2) | 2309 | 0.18461 | 0.059381 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #15 (Vero v2.2) | 2107 | 0.43744 | 0.099357 | 0.36981 | 0.088882 | No | No
2026-07-29 | #16 (Vero v2.2) | 1476 | 0.35501 | 0.079747 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #17 (Vero v2.2) | 1689 | 0.35418 | 0.073407 | 0.36981 | 0.088882 | Yes | Yes
2026-07-29 | #18 (Vero v2.2) | 2001 | 0.53931 | 0.10856 | 0.36981 | 0.088882 | No | No
2026-07-30 | #1 (Vero v2.2) | 2638 | 0.21954 | 0.061774 | 0.32768 | 0.079198 | Yes | Yes
2026-07-30 | #2 (Vero v2.2) | 2543 | 0.37991 | 0.10016 | 0.32768 | 0.079198 | No | No
2026-07-30 | #3 (Vero v2.2) | 2200 | 0.43277 | 0.10158 | 0.32768 | 0.079198 | No | No
2026-07-30 | #4 (Vero v2.2) | 2099 | 0.45406 | 0.089885 | 0.32768 | 0.079198 | No | No
2026-07-30 | #5 (Vero v2.2) | 2275 | 0.25811 | 0.061424 | 0.32768 | 0.079198 | Yes | Yes
2026-07-30 | #6 (Vero v2.2) | 1741 | 0.33666 | 0.070834 | 0.32768 | 0.079198 | No | Yes
2026-07-30 | #7 (Vero v2.2) | 1921 | 0.38086 | 0.0797 | 0.32768 | 0.079198 | No | No
2026-07-30 | #8 (Vero v2.2) | 1045 | 0.21175 | 0.064198 | 0.32768 | 0.079198 | Yes | Yes
2026-07-30 | #9 (Vero v2.2) | 2515 | 0.42335 | 0.082395 | 0.32768 | 0.079198 | No | No
2026-07-30 | #10 (Vero v2.2) | 2236 | 0.26178 | 0.07113 | 0.32768 | 0.079198 | Yes | Yes
2026-07-30 | #11 (Vero v2.2) | 1438 | 0.37281 | 0.12241 | 0.32768 | 0.079198 | No | No
2026-07-30 | #12 (Vero v2.2) | 2455 | 0.27421 | 0.084493 | 0.32768 | 0.079198 | Yes | No
2026-07-30 | #13 (Vero v2.2) | 1004 | 0.21172 | 0.050948 | 0.32768 | 0.079198 | Yes | Yes
2026-07-30 | #14 (Vero v2.2) | 1995 | 0.23137 | 0.07443 | 0.32768 | 0.079198 | Yes | Yes
2026-07-30 | #15 (Vero v2.2) | 1717 | 0.34229 | 0.077722 | 0.32768 | 0.079198 | No | Yes
2026-07-30 | #16 (Vero v2.2) | 1307 | 0.32846 | 0.073749 | 0.32768 | 0.079198 | No | Yes
2026-07-30 | #17 (Vero v2.2) | 2040 | 0.33388 | 0.069205 | 0.32768 | 0.079198 | No | Yes
2026-07-30 | #18 (Vero v2.2) | 1599 | 0.44471 | 0.089531 | 0.32768 | 0.079198 | No | No
2026-07-31 | #1 (Vero v2.2) | 3975 | 0.52361 | 0.14732 | 0.39171 | 0.096186 | No | No
2026-07-31 | #2 (Vero v2.2) | 3665 | 0.4545 | 0.11977 | 0.39171 | 0.096186 | No | No
2026-07-31 | #3 (Vero v2.2) | 2763 | 0.40343 | 0.094635 | 0.39171 | 0.096186 | No | Yes
2026-07-31 | #4 (Vero v2.2) | 2377 | 0.53664 | 0.10614 | 0.39171 | 0.096186 | No | No
2026-07-31 | #5 (Vero v2.2) | 3135 | 0.21872 | 0.052028 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #6 (Vero v2.2) | 2511 | 0.35524 | 0.0747 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #7 (Vero v2.2) | 2587 | 0.37267 | 0.077943 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #8 (Vero v2.2) | 1502 | 0.26457 | 0.080192 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #9 (Vero v2.2) | 3787 | 0.47796 | 0.093003 | 0.39171 | 0.096186 | No | Yes
2026-07-31 | #10 (Vero v2.2) | 2437 | 0.51614 | 0.14021 | 0.39171 | 0.096186 | No | No
2026-07-31 | #11 (Vero v2.2) | 2126 | 0.61609 | 0.20234 | 0.39171 | 0.096186 | No | No
2026-07-31 | #12 (Vero v2.2) | 4033 | 0.26639 | 0.081988 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #13 (Vero v2.2) | 1548 | 0.24405 | 0.058651 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #14 (Vero v2.2) | 2915 | 0.16377 | 0.052654 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #15 (Vero v2.2) | 2017 | 0.418 | 0.094884 | 0.39171 | 0.096186 | No | Yes
2026-07-31 | #16 (Vero v2.2) | 1610 | 0.32311 | 0.072503 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #17 (Vero v2.2) | 2718 | 0.37503 | 0.077646 | 0.39171 | 0.096186 | Yes | Yes
2026-07-31 | #18 (Vero v2.2) | 2001 | 0.52082 | 0.10474 | 0.39171 | 0.096186 | No | No
2026-08-01 | #1 (Vero v2.2) | 3111 | 0.38657 | 0.10891 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #2 (Vero v2.2) | 2814 | 0.48407 | 0.1277 | 0.55296 | 0.1267 | Yes | No
2026-08-01 | #3 (Vero v2.2) | 2201 | 0.54381 | 0.12779 | 0.55296 | 0.1267 | Yes | No
2026-08-01 | #4 (Vero v2.2) | 2352 | 0.47246 | 0.093413 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #5 (Vero v2.2) | 2814 | 0.38531 | 0.091878 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #6 (Vero v2.2) | 2708 | 1.4716 | 0.31046 | 0.55296 | 0.1267 | No | No
2026-08-01 | #7 (Vero v2.2) | 2700 | 0.81003 | 0.1698 | 0.55296 | 0.1267 | No | No
2026-08-01 | #8 (Vero v2.2) | 1503 | 0.20463 | 0.062046 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #9 (Vero v2.2) | 3742 | 1.2651 | 0.24617 | 0.55296 | 0.1267 | No | No
2026-08-01 | #10 (Vero v2.2) | 2339 | 0.37946 | 0.10304 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #11 (Vero v2.2) | 1576 | 0.21702 | 0.07127 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #12 (Vero v2.2) | 2915 | 0.22856 | 0.070345 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #13 (Vero v2.2) | 1546 | 0.22811 | 0.054853 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #14 (Vero v2.2) | 2440 | 0.24539 | 0.078953 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #15 (Vero v2.2) | 1812 | 0.71662 | 0.16242 | 0.55296 | 0.1267 | No | No
2026-08-01 | #16 (Vero v2.2) | 1530 | 0.38389 | 0.086133 | 0.55296 | 0.1267 | Yes | Yes
2026-08-01 | #17 (Vero v2.2) | 2305 | 1.0587 | 0.22051 | 0.55296 | 0.1267 | No | No
2026-08-01 | #18 (Vero v2.2) | 2080 | 0.47213 | 0.094858 | 0.55296 | 0.1267 | Yes | Yes
2026-08-03 | #1 (Vero v2.2) | 2303 | 0.18865 | 0.057477 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #2 (Vero v2.2) | 2379 | 0.37706 | 0.10618 | 0.376 | 0.090347 | No | No
2026-08-03 | #3 (Vero v2.2) | 2183 | 0.47255 | 0.11823 | 0.376 | 0.090347 | No | No
2026-08-03 | #4 (Vero v2.2) | 2342 | 0.44384 | 0.090626 | 0.376 | 0.090347 | No | No
2026-08-03 | #5 (Vero v2.2) | 2076 | 0.28808 | 0.071639 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #6 (Vero v2.2) | 2133 | 0.44759 | 0.096034 | 0.376 | 0.090347 | No | No
2026-08-03 | #7 (Vero v2.2) | 2387 | 0.48196 | 0.10152 | 0.376 | 0.090347 | No | No
2026-08-03 | #8 (Vero v2.2) | 1147 | 0.29599 | 0.087793 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #9 (Vero v2.2) | 3654 | 0.40146 | 0.07654 | 0.376 | 0.090347 | No | Yes
2026-08-03 | #10 (Vero v2.2) | 2570 | 0.32885 | 0.083028 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #11 (Vero v2.2) | 1090 | 0.27264 | 0.09655 | 0.376 | 0.090347 | Yes | No
2026-08-03 | #12 (Vero v2.2) | 2661 | 0.38973 | 0.12312 | 0.376 | 0.090347 | No | No
2026-08-03 | #13 (Vero v2.2) | 1004 | 0.17921 | 0.042684 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #14 (Vero v2.2) | 2844 | 0.23088 | 0.069537 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #15 (Vero v2.2) | 2740 | 0.37663 | 0.082054 | 0.376 | 0.090347 | No | Yes
2026-08-03 | #16 (Vero v2.2) | 1675 | 0.45171 | 0.095756 | 0.376 | 0.090347 | No | No
2026-08-03 | #17 (Vero v2.2) | 1654 | 0.34387 | 0.075787 | 0.376 | 0.090347 | Yes | Yes
2026-08-03 | #18 (Vero v2.2) | 1257 | 0.79733 | 0.15169 | 0.376 | 0.090347 | No | No
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average
[5 empty] | WE Average | IE Average

## Daily Summary
Date | Starting Temperature | Cameras Logged | Starting Time | Min Wand Count Setting | Avg Wand Count | Count as Proportion | World Error |  |  | Image Error |  |  | Notes on daily calibration attempt
[7 empty] | WE Average | Lowest WE | Highest WE | IE Average | Lowest IE | Highest IE
2026-07-25 | 23.5 | 17 | 20:36 | 1000 | 2045.4118 | 204.5% | 0.39118 | 0.13059 | 0.64796 | 0.092278 | 0.042416 | 0.14732 | Camera 8 not enabled by mistake, no masking or marker removal attempted - attempting to establish baselines
2026-07-26 |  | 0
2026-07-27 | 23.5 | 18 | 14:26 | 1000 | 1582.8333 | 158.3% | 0.38042 | 0.1621 | 0.61034 | 0.091967 | 0.044685 | 0.14344 | Did not create a box with markers, scattered randomly, adjusted auto detect tolerance for set volume down to 2mm
2026-07-28 | 24.5 | 18 | 12:10 | 1000 | 1833.0556 | 183.3% | 0.35088 | 0.15785 | 0.55681 | 0.08473 | 0.04786 | 0.14671 | Scattered markers randomly in the volume, completely reset calibration and masking beforehand, manually masked reflective pipe in camera 5. Modified approach with wand to push in/pull back and wave widely/shortly rather than fixating on figure 8
2026-07-29 | 25.5 | 18 | 19:45 | 1000 | 2014.2222 | 201.4% | 0.36981 | 0.18461 | 0.56917 | 0.088882 | 0.059381 | 0.13646 | Mostly focused on fixing the calibration data pollution bug from sample data (camera IDs reorganised) but sweeping movements around the main volume, with markers scattered in clusters no box outline
2026-07-30 | 24.5 | 18 | 12:48 | 1000 | 1931.5556 | 193.2% | 0.32768 | 0.21172 | 0.45406 | 0.079198 | 0.050948 | 0.12241 | After calibration modified level of the L-Frame as floor wasn't level, so this may affect volume capture in future
2026-07-31 | 24.5 | 0 | 14:00 | 1500 | 2650.3889 | 176.7% | 0.39171 | 0.16377 | 0.61609 | 0.096186 | 0.052028 | 0.20234 | Following 2 wand count errors increased auto stop min frames to 1500 and spread time more equally in volume - using technique guidance from active wand v4 (away from body, large circles, facing camera, no turning wand keep parallel to yourself, watch for objects) Worsening world and image errors! To repeat on 1-2 tests to confirm
2026-08-01 | 24 | 18 | 17:47 | 1500 | 2360.4444 | 157.4% | 0.55296 | 0.20463 | 1.4716 | 0.1267 | 0.054853 | 0.31046 | Minor wand wave not according to technique (folding wave) but otherwise going left/right and keeping away from body. Some camera error outliers and ghost markers during floor plane calibration.
2026-08-03 | 24 | 18 | 11:11 | 1000 | 2116.6111 | 211.7% | 0.376 | 0.17921 | 0.79733 | 0.090347 | 0.042684 | 0.15169 | Reverted wand wave technique - waving in figure 8 Opting to put clusters of 3 in volume corners and spacing out pairs elsewhere in centre of volume floor plane
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Formulas:
Date = [Date, row above]+1
Note on G1: Daniel Newby: Represents how well you covered volume with wand waves.

## Camera Error Trend
Select camera: |  | #4 (Vero v2.2) |  |  |  | ALL TIME CAMERA ERRORS |  | ALL TIME AVERAGES |  | PERFORMANCE
Errors marked red if worse than daily average, green if better | [5 empty] | World Error | Image Error | World Error | Image Error | World Error | Image Error
Date | Temp | Camera #4 (Vero v2.2) Error |  | AVERAGES FOR THIS DAY |  | 0.53255 | 0.10561 | 0.39259 | 0.093796 | 73.72% | 88.81%
|  | World Error | Image Error | World Error | Image Error
2026-07-25 | 23.5 | 0.62004 | 0.12158 | 0.39118 | 0.092278
2026-07-26 | 0
2026-07-27 | 23.5 | 0.61034 | 0.12091 | 0.38042 | 0.091967
2026-07-28 | 24.5 | 0.55387 | 0.10969 | 0.35088 | 0.08473
2026-07-29 | 25.5 | 0.56917 | 0.11265 | 0.36981 | 0.088882
2026-07-30 | 24.5 | 0.45406 | 0.089885 | 0.32768 | 0.079198
2026-07-31 | 24.5 | 0.53664 | 0.10614 | 0.39171 | 0.096186
| 0 |  |  | 0.55296 | 0.1267
| 0 |  |  | 0.376 | 0.090347
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Formulas:
Select camera: = [Select camera:, row above]+1

## Camera Performance Trends
Camera | Marked red if worse than global average |  | How many days is camera better than avg. |  | How many days camera is worse than avg. |  | % of total days camera beats the average |  |  | GLOBAL AVERAGE OF ERROR
| AVERAGE CAMERA ERRORS |  | WIN RATE (vs average) |  | LOSS RATE (vs average) |  | WIN RATE as Percentage |  | Evaluation | World Error | Image Error
| World Error | Image Error | World Error | Image Error | World Error | Image Error | World Error | Image Error |  | 0.39138 | 0.093602
#1 (Vero v2.2) | 0.32408 | 0.091985 | 6 | 5 | 2 | 3 | 75% | 62.5%
#2 (Vero v2.2) | 0.43452 | 0.11553 | 1 | 0 | 7 | 8 | 12.5% | 0%
#3 (Vero v2.2) | 0.43415 | 0.10269 | 2 | 2 | 6 | 6 | 25% | 25%
#4 (Vero v2.2) | 0.53255 | 0.10561 | 1 | 1 | 7 | 7 | 12.5% | 12.5%
#5 (Vero v2.2) | 0.27774 | 0.066345 | 8 | 8 | 0 | 0 | 100% | 100%
#6 (Vero v2.2) | 0.52327 | 0.11004 | 2 | 6 | 6 | 2 | 25% | 75%
#7 (Vero v2.2) | 0.46816 | 0.097599 | 2 | 3 | 6 | 5 | 25% | 37.5%
#8 (Vero v2.2) | 0.21789 | 0.065777 | 7 | 7 | 0 | 0 | 87.5% | 87.5% |  | Note: camera 8 was mistakenly not included in 1st day win rate could be 1 higher
#9 (Vero v2.2) | 0.52184 | 0.10166 | 0 | 6 | 8 | 2 | 0% | 75%
#10 (Vero v2.2) | 0.43146 | 0.11598 | 3 | 3 | 5 | 5 | 37.5% | 37.5%
#11 (Vero v2.2) | 0.35101 | 0.11641 | 3 | 2 | 5 | 6 | 37.5% | 25%
#12 (Vero v2.2) | 0.28561 | 0.089444 | 6 | 4 | 2 | 4 | 75% | 50%
#13 (Vero v2.2) | 0.21174 | 0.051127 | 8 | 8 | 0 | 0 | 100% | 100%
#14 (Vero v2.2) | 0.2031 | 0.064405 | 8 | 8 | 0 | 0 | 100% | 100%
#15 (Vero v2.2) | 0.43593 | 0.098868 | 1 | 4 | 7 | 4 | 12.5% | 50%
#16 (Vero v2.2) | 0.40969 | 0.091514 | 4 | 5 | 4 | 3 | 50% | 62.5%
#17 (Vero v2.2) | 0.43663 | 0.091203 | 6 | 7 | 2 | 1 | 75% | 87.5%
#18 (Vero v2.2) | 0.5454 | 0.10864 | 1 | 1 | 7 | 7 | 12.5% | 12.5%
Cameras where world and image error are both highlighted as consistently above average (lower scores are better)/have poor win rates should be investigated.

## Error Log
THIS SHEET FOR INVALID CALIBRATION DATA ONLY |  |  |  | Camera Error (This Day) |  | Average Errors (This Day) |  | Beats average?
Attempt (Formula Key) | Date | Camera | Wand Count | World Error | Image Error | World Error (Avg.) | Image Error (Avg.) | World | Image
1 | 2026-07-31 | #1 (Vero v2.2) | 1541 | 0.1886 | 0.051706 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #2 (Vero v2.2) | 1446 | 0.37837 | 0.095172 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #3 (Vero v2.2) | 1243 | 0.45937 | 0.097981 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #4 (Vero v2.2) | 1644 | 0.40902 | 0.084035 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #5 (Vero v2.2) | 1405 | 0.25811 | 0.061424 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #6 (Vero v2.2) | 1581 | 0.44828 | 0.084727 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #7 (Vero v2.2) | 1629 | 0.38086 | 0.0797 | 0.33998 | 0.082925 | No | Yes
1 | 2026-07-31 | #8 (Vero v2.2) | 1169 | 0.1794 | 0.047875 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #9 (Vero v2.2) | 2986 | 0.38621 | 0.084019 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #10 (Vero v2.2) | 2137 | 0.3267 | 0.088852 | 0.33998 | 0.082925 | Yes | No
1 | 2026-07-31 | #11 (Vero v2.2) | 1151 | 0.45462 | 0.15438 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #12 (Vero v2.2) | 2704 | 0.2085 | 0.073032 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #13 (Vero v2.2) | 1078 | 0.28195 | 0.077458 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #14 (Vero v2.2) | 2003 | 0.2571 | 0.076538 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #15 (Vero v2.2) | 1623 | 0.29575 | 0.075998 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #16 (Vero v2.2) | 1004 | 0.31089 | 0.076906 | 0.33998 | 0.082925 | Yes | Yes
1 | 2026-07-31 | #17 (Vero v2.2) | 1142 | 0.43533 | 0.085074 | 0.33998 | 0.082925 | No | No
1 | 2026-07-31 | #18 (Vero v2.2) | 1237 | 0.46052 | 0.097774 | 0.33998 | 0.082925 | No | No
2 | 2026-07-31 | #1 (Vero v2.2) | 2967 | 0.37851 | 0.10751 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #2 (Vero v2.2) | 3153 | 0.38189 | 0.099819 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #3 (Vero v2.2) | 2357 | 0.44206 | 0.099856 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #4 (Vero v2.2) | 1635 | 0.44906 | 0.089387 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #5 (Vero v2.2) | 2767 | 0.29397 | 0.066158 | 0.35394 | 0.085413 | Yes | Yes
2 | 2026-07-31 | #6 (Vero v2.2) | 2209 | 0.36778 | 0.073183 | 0.35394 | 0.085413 | No | Yes
2 | 2026-07-31 | #7 (Vero v2.2) | 2074 | 0.38086 | 0.0797 | 0.35394 | 0.085413 | No | Yes
2 | 2026-07-31 | #8 (Vero v2.2) | 1315 | 0.18341 | 0.05152 | 0.35394 | 0.085413 | Yes | Yes
2 | 2026-07-31 | #9 (Vero v2.2) | 2535 | 0.38919 | 0.080031 | 0.35394 | 0.085413 | No | Yes
2 | 2026-07-31 | #10 (Vero v2.2) | 1694 | 0.37493 | 0.10022 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #11 (Vero v2.2) | 1603 | 0.31157 | 0.10694 | 0.35394 | 0.085413 | Yes | No
2 | 2026-07-31 | #12 (Vero v2.2) | 2651 | 0.23065 | 0.077064 | 0.35394 | 0.085413 | Yes | Yes
2 | 2026-07-31 | #13 (Vero v2.2) | 1114 | 0.2755 | 0.071047 | 0.35394 | 0.085413 | Yes | Yes
2 | 2026-07-31 | #14 (Vero v2.2) | 1709 | 0.18047 | 0.054836 | 0.35394 | 0.085413 | Yes | Yes
2 | 2026-07-31 | #15 (Vero v2.2) | 1262 | 0.42055 | 0.10097 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #16 (Vero v2.2) | 1001 | 0.40852 | 0.095214 | 0.35394 | 0.085413 | No | No
2 | 2026-07-31 | #17 (Vero v2.2) | 2829 | 0.40668 | 0.082855 | 0.35394 | 0.085413 | No | Yes
2 | 2026-07-31 | #18 (Vero v2.2) | 1504 | 0.49534 | 0.10111 | 0.35394 | 0.085413 | No | No
1 | 2026-08-03 | #1 (Vero v2.2) | 3346 | 0.32431 | 0.098803 | 0.31301 | 0.076519 | No | No
1 | 2026-08-03 | #2 (Vero v2.2) | 3063 | 0.35387 | 0.099646 | 0.31301 | 0.076519 | No | No
1 | 2026-08-03 | #3 (Vero v2.2) | 2034 | 0.34924 | 0.087392 | 0.31301 | 0.076519 | No | No
1 | 2026-08-03 | #4 (Vero v2.2) | 2205 | 0.47246 | 0.093413 | 0.31301 | 0.076519 | No | No
1 | 2026-08-03 | #5 (Vero v2.2) | 2383 | 0.23527 | 0.058521 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #6 (Vero v2.2) | 2170 | 0.31479 | 0.067531 | 0.31301 | 0.076519 | No | Yes
1 | 2026-08-03 | #7 (Vero v2.2) | 2313 | 0.3007 | 0.063358 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #8 (Vero v2.2) | 1596 | 0.16799 | 0.049786 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #9 (Vero v2.2) | 3368 | 0.44997 | 0.085777 | 0.31301 | 0.076519 | No | No
1 | 2026-08-03 | #10 (Vero v2.2) | 1671 | 0.47886 | 0.12086 | 0.31301 | 0.076519 | No | No
1 | 2026-08-03 | #11 (Vero v2.2) | 1504 | 0.31256 | 0.11063 | 0.31301 | 0.076519 | Yes | No
1 | 2026-08-03 | #12 (Vero v2.2) | 2776 | 0.24211 | 0.076394 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #13 (Vero v2.2) | 1564 | 0.2651 | 0.063128 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #14 (Vero v2.2) | 2134 | 0.1826 | 0.055004 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #15 (Vero v2.2) | 1805 | 0.33567 | 0.07314 | 0.31301 | 0.076519 | No | Yes
1 | 2026-08-03 | #16 (Vero v2.2) | 1506 | 0.2376 | 0.050321 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #17 (Vero v2.2) | 2592 | 0.24666 | 0.054343 | 0.31301 | 0.076519 | Yes | Yes
1 | 2026-08-03 | #18 (Vero v2.2) | 1991 | 0.36451 | 0.069291 | 0.31301 | 0.076519 | No | Yes
2 | 2026-08-03 | #1 (Vero v2.2) | 2529 | 0.19737 | 0.053979 | 0.32504 | 0.078212 | Yes | Yes
2 | 2026-08-03 | #2 (Vero v2.2) | 2434 | 0.4024 | 0.10256 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #3 (Vero v2.2) | 2472 | 0.3733 | 0.083115 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #4 (Vero v2.2) | 2227 | 0.44384 | 0.090626 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #5 (Vero v2.2) | 2847 | 0.23527 | 0.058521 | 0.32504 | 0.078212 | Yes | Yes
2 | 2026-08-03 | #6 (Vero v2.2) | 2586 | 0.38427 | 0.077092 | 0.32504 | 0.078212 | No | Yes
2 | 2026-08-03 | #7 (Vero v2.2) | 2350 | 0.36796 | 0.073716 | 0.32504 | 0.078212 | No | Yes
2 | 2026-08-03 | #8 (Vero v2.2) | 1620 | 0.1853 | 0.053657 | 0.32504 | 0.078212 | Yes | Yes
2 | 2026-08-03 | #9 (Vero v2.2) | 4051 | 0.44907 | 0.091503 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #10 (Vero v2.2) | 2289 | 0.40045 | 0.11134 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #11 (Vero v2.2) | 1649 | 0.31081 | 0.10154 | 0.32504 | 0.078212 | Yes | No
2 | 2026-08-03 | #12 (Vero v2.2) | 3170 | 0.20591 | 0.065986 | 0.32504 | 0.078212 | Yes | Yes
2 | 2026-08-03 | #13 (Vero v2.2) | 1504 | 0.21274 | 0.053797 | 0.32504 | 0.078212 | Yes | Yes
2 | 2026-08-03 | #14 (Vero v2.2) | 1926 | 0.20687 | 0.06572 | 0.32504 | 0.078212 | Yes | Yes
2 | 2026-08-03 | #15 (Vero v2.2) | 2047 | 0.34014 | 0.081699 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #16 (Vero v2.2) | 1611 | 0.33842 | 0.080178 | 0.32504 | 0.078212 | No | No
2 | 2026-08-03 | #17 (Vero v2.2) | 2467 | 0.38305 | 0.076464 | 0.32504 | 0.078212 | No | Yes
2 | 2026-08-03 | #18 (Vero v2.2) | 1997 | 0.41351 | 0.086338 | 0.32504 | 0.078212 | No | No

## Error Summary
Key | Date | Starting Temperature | Cameras Logged | Starting Time | Min Wand Count Setting | Avg Wand Count | Count as Proportion | World Error |  |  | Image Error |  |  | Why is this entry removed from daily calibration data? | Notes on daily calibration attempt
[8 empty] | WE Average | Lowest WE | Highest WE | IE Average | Lowest IE | Highest IE
1 | 2026-07-31 | 24.5 | 18 | 12:18 | 1500 | 1595.7222 | 106.4% | 0.33998 | 0.1794 | 0.46052 | 0.082925 | 0.047875 | 0.15438 | People kept coming in room, interrupting calibration attempts - along with poor wand wave & previous wand level modification could not set volume | No swish/figure 8, instead followed guidance from active wand v4 docs which suggested keeping wand away from body due to occlusion, and facing cameras. Waved in mostly large (sometimes small) circles
2 | 2026-07-31 | 24.5 |  | 13:49 | 1500 | 2021.0556 | 134.7% | 0.35394 | 0.18047 | 0.49534 | 0.085413 | 0.05152 | 0.10751 | check calibration data for camera relativity
1 | 2026-08-03 | 24 |  | 11:11 | 1500 | 1595.7222 | 106.4% | 0.33998 | 0.1794 | 0.46052 | 0.082925 | 0.047875 | 0.15438 | Camera 4 not relative to rest | Wand wave technique is semi-radial extended from body but facing/relative degree° equal to facing (rocking side to side drawing a semi-circle basically) with some squatting or bending down
2 | 2026-08-03 | 24 |  | 11:53 | 1500 | 2320.8889 | 154.7% | 0.32504 | 0.1853 | 0.44907 | 0.078212 | 0.053657 | 0.11134 | Camera 5 not relative to rest | Wand wave technique as above
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
|  |  | 0 | [5 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
[9 empty] | 0 | 0 |  | 0 | 0
Note on H1: Daniel Newby: Represents how well you covered volume with wand waves.